## Slide 1: Research Update 2023 Q1 Bo, 03 March 2023

## Slide 2: Data Processing using SLINGtools (MiDAR)
https://github.com/SLINGhub/SLINGtools
AIM: Efficient, reproducible and consistent data processing/QC
1) You need:
  - Data files (MH Quant, MRMkit, plain csv,…)
  - Metadata (Jemery’s, XLXS, LIMS)
2) You will get:
  - Processed dataset
  - QC: plots and numbers
  - LIMS matching
  - Report in EXCEL
  - Report in PPTX / DOCX / PDF

## Slide 3: Effects
μmol/L
Run order

## Slide 4: Effects
μmol/L
Run order

## Slide 5: What do we learn and do !?
Aim to do a SST BEFORE the run (how can we help?)
Check your run DURING the run (dare to stop it…)
Check your run AFTER the run (dare to re-run it…)
Are our instrument methods OK?
Share issues !!
Learn from data
“Must read”

## Slide 6: Healthy Athletes
Lipidomics Analysis Report V1.1 SLING / 03 March 2023

## Slide 7: QUALITY CONTROL

## Slide 8: QC and Sample Variability and Outliers
Figure 1: PCA of all QCs and samples BQCs (Batch QCs) are pooled samples co-extracted with samples that represent the sample preparation and MS analysis variability. The TQC (technical QCs) is a common sample measured at regular intervals to monitor the instrument stability. Ideally, the BQC should be centered closely in the middle. No appearednt outliers. PASSED.

## Slide 9: Analytical Robustness
Figure 2: Concentrations of selected species in QC and study sample arranged by analysis order. No appearent batch effects and drifts, QC samples with low variability and centered in the middle. Passed

## Slide 10: Analytical Linearity
Figure 3: Raw signal intensity as a function of sample amount analysed by the mass spectrometer. Responses should be linear. Passed, except some CE

## Slide 11: EXPLORATORY DATA ANALYSIS

## Slide 12: Statistical Comparison of Groups (M vs F)
Figure 4: Statistical comparison between the experimental groups M and F using Welch’s t-test. Lipid species with significant differences between F and M are highlighted in red (P < 0.05 and |FC| > 1.2).

## Slide 13: Significanlty different lipid species
Figure 5 Lipid species with statistically significant (P > 0.5, |FC| > 1.3) differences between M and F.

## Slide 14: Effects
μmol/L
Run order

## Slide 15: Effects
μmol/L
Run order

## Slide 16: What do we learn and do !?
Aim to do a SST BEFORE the run (how can we help?)
Check your run DURING the run (dare to stop it…)
Check your run AFTER the run (dare to re-run it…)
Are our instrument methods OK?
Share issues !!
Learn from data
“Must read”