## Slide 1: Healthy Athletes
Lipidomics Analysis Report V1.1 SLING / 03 March 2023

## Slide 2: QUALITY CONTROL

## Slide 3: QC and Sample Variability and Outliers
Figure 1: PCA of all QCs and samples BQCs (Batch QCs) are pooled samples co-extracted with samples that represent the sample preparation and MS analysis variability. The TQC (technical QCs) is a common sample measured at regular intervals to monitor the instrument stability. Ideally, the BQC should be centered closely in the middle. No appearednt outliers. PASSED.

## Slide 4: Analytical Robustness
Figure 2: Concentrations of selected species in QC and study sample arranged by analysis order. No appearent batch effects and drifts, QC samples with low variability and centered in the middle. Passed

## Slide 5: Analytical Linearity
Figure 3: Raw signal intensity as a function of sample amount analysed by the mass spectrometer. Responses should be linear. Passed, except some CE

## Slide 6: EXPLORATORY DATA ANALYSIS

## Slide 7: Statistical Comparison of Groups (M vs F)
Figure 4: Statistical comparison between the experimental groups M and F using Welch’s t-test. Lipid species with significant differences between F and M are highlighted in red (P < 0.05 and |FC| > 1.2).

## Slide 8: Significanlty different lipid species
Figure 5 Lipid species with statistically significant (P > 0.5, |FC| > 1.3) differences between M and F.

## Slide 9: Thank You :-)